|  |  |  |
| --- | --- | --- |
|  | **PRODUCT** **SPECIFICATION** | |
|  |  | |
| **SHO310KBL -** **Kolt Shower with Sliding Handset and Drench Head Black** | | |
|  | | **BAR** **CODE: 5055681461324**  **COLOUR:** **MATT-BLACK**  **WEIGHT:**  **NET** 4.34**kg**  **GROSS** 5.45**kg**  **STANDARDS:** **BS** **EN** **1111** **NOTES:** **SUITABLE** **FOR** **PRESSURES** **BETWEEN** **0.2** **-** **5** **BAR** **HOT** **&** **COLD** **PRESSURES** **MUST** **BE** **BALANCED** **SUITABLE** **FOR** **COMBI-** **BOILERS,** **UNVENTED** **MAINS** **PRESSURE** **SYSTEMS** **AND** **GRAVITY** **FED** **SYSTEMS** **SUITABLE** **FOR** **SHOWER** **PUMPS** **ANTI** **SCALD** **(THERMO** **STOP** **SET** **AT** **38ᵒC)** **OVER** **HEAD** **SS** **DRENCHER/MULTI-** **FUNCTION** **HAND** **SET** **Flow** **Rate:** |
| |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | | 0 . 2 bar | 0 . 5 bar | 1 bar | 2 bar | 3 bar | 5 bar | | 4.6 **L** | **7.3 L** | **10.3 L** | **15.1 L** | 17.7 **L** | **22.9 L** |     BOX SIZE 843X355X118 | | |