|  |  |  |
| --- | --- | --- |
|  | **PRODUCT** **SPECIFICATION** | |
|  |  | |
| **TAP300KCP-Kolt Mono Basin Mixer Chrome** | | |
|  | | **BAR** **CODE:** 5055681461195  **COLOUR:** **CHROME**  **WEIGHT:**  **NET** 1.18 kg (tap only)  **GROSS** 1.62 kg   |  |  |  |  |  | | --- | --- | --- | --- | --- | | 0 . 2 bar | 0 . 5 bar | 1 bar | 2 bar | 3 bar | | 4.4 **L** | **8.2 L** | **11.8 L** | **17.1L** | **20.8 L** |   **STANDARDS:** BS EN 200 **NOTES:** **SUITABLE** **FOR** **PRESSURES** **BETWEEN** **0.5-10BAR** **Flow** **Rate:** |
| BOX SIZE 175X159X77 | | |