|  | # PRODUCT SPECIFICATION |  |
| --- | --- | --- |
| TAP300KCP-Kolt Mono Basin Mixer Chrome |  |  |
|  |  | BAR CODE: 5055681461195 COLOUR: CHROME WEIGHT: NET 1.18 kg (tap only) GROSS 1.62 kg 0 . 2 bar; 0 . 5 bar; 1 bar; 2 bar; 3 bar. 4.4 L; 8.2 L; 11.8 L; 17.1L; 20.8 L. STANDARDS: BS EN 200 NOTES: SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR Flow Rate: |
| BOX SIZE 175X159X77 |  |  |