|  |  |
| --- | --- |
|  | **PRODUCT** **SPECIFICATION** |
|  |  |
| **TAP301KCP-Kolt Hi-Rise Mono Basin Mixer Chrome** |
|  | **BAR** **CODE:** 5055681461201**COLOUR:** **CHROME****WEIGHT:****NET** 1.57 kg (tap only)**GROSS** 1.91 kg

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 0 . 2 bar | 0 . 5 bar | 1 bar | 2 bar | 3 bar |
| 4.4 **L** | **7.8L** | **11.4 L** | **16.4L** | **20.1 L** |

**STANDARDS:** BS EN 200 **NOTES:** **SUITABLE** **FOR** **PRESSURES** **BETWEEN** **0.5-10BAR** **Flow** **Rate:** |
| BOX SIZE 351X148X60 |